Regular models :OQ-40

Measuring accuracy: ± 3 mm

Measuring Range :0.03--40

Minimum display :1mm

Single measurement time: 0.1 to 4 seconds

Unit of measurement :m (meter) / ft (foot) / in (inch)

Laser Grade II :Gradell

Laser Type: 635nm

Laser power :< 1 mW

Continuous distance measurement :support

Area measurement: support

Volume Measurement :Support

Tick measurement :support

Area volume squared plus and minus measurement :support

Maximum and minimum measurements: support

Data storage up to: 20 groups

Measurement Benchmark Switching :Support

Display Lighting: Support

Beecher :Support

Battery Type AAA Battery 1.57x2

Battery life > 15,000 measurements

Dust / Water Splash: IP54

Operating temperature: 0 ° C - 40 ° C

Storage temperature :- 20 ° C - 60 ° C

Automatically turn off the laser for :15 seconds

Automatic shutdown for “45 seconds

Specifications :120 * 55 * 26mm